## Slide 1: Color screening in Quark Gluon Plasma (QGP): An experiment to measure cc suppression in PbPb collisions at the CERN SPS
CHIC: Charm in Heavy Ion Collisions
F. Fleuret 1, F. Arleo 2, E. G. Ferreiro 3, P.-B. Gossiaux 4, S. Peigné 4
1 LLR, École polytechnique – IN2P3/CNRS, Palaiseau, France
2 LAPTh, Université de Savoie – CNRS, Annecy-le-Vieux, France
3 Universidad de Santiago de Compostela, Santiago de Compostela, Spain
4 SUBATECH, université de Nantes – IN2P3/CNRS, Nantes, France

## Slide 2: Charmonia in A+A
QGP color screening through quarkonium measurements
  Quarkonium color screening in a Quark Gluon Plasma is a prediction of lattice QCD, for instance :
  Because of feed-downs and different Td, sequential suppression should show up.
The Physics case
H. Satz, J. Phys. G 32 (2006)
production probability
J/Y
cc
3rd step
Y’
2nd step
Sequential suppression - screening
1st step
Temperature (Energy density)
  60% direct J/Y
  + 30% ccJ/Y+g
  + 10% Y’  J/Y + X
  Inclusive J/Y yield

Feed-downs contributing to J/Y inclusive yield

## Slide 3: Charmonia in A+A
Other possible QGP effect: recombination
  In a QGP, and quarks can combine to form a J/Y.
  Requires a large number of pairs  RHIC energies? LHC energies?
The Physics case
1
TY’ > Tc
Tc > TY’ > Tc
TJ/Y > Tc > TY’ > Tc
~0.9
~0.6
~0
Sequential suppression
Recombination
J/Y production (a.u.)
TLHC-CERN > TRHIC-BNL > TSPS-CERN
Temperature

## Slide 4: Charmonia in A+A
Charmonium production in A+A collisions studied at:
  SPS (s=17 GeV) NA38, NA50, NA60 experiments
  RHIC (s=200 GeV) PHENIX, STAR experiments
  LHC (s=2.76 TeV) ALICE, CMS experiments
Short summary for J/Y:
  NA50 (PbPb@SPS) observed an anomalous suppression
  PHENIX (AuAu@RHIC) observed a similar suppression (than NA50)
  ALICE (PbPb@LHC) observed a smaller suppression for low pT J/Y
  CMS (PbPb@LHC) observed a larger suppression for high pT J/Y
Unclear picture :
  Observed Hot and Dense Matter effects. For quarkonia, are they due to
    color screening ? Apply in principle at SPS, RHIC and LHC
    Recombination ? Apply at RHIC? LHC?
    Both ?
To understand Hot and Dense Matter effects on charmonium,
  need to (dis)prove color screening first.
  Study of recombination is a second step (at high energies).
Experimentally

## Slide 5: Charmonia in A+A
How to Test sequential suppression with charmonia ?
  must be in a regime where recombination is negligible  SPS energies
  must measure J/Y, Y’, cc :
    ~30% (resp. ~10%) of inclusive J/Y comes from cc (resp. Y’) decay.
    According to lattice calculations, Td (Y’) < Td (cc) < Td (J/Y)
    If screening, one should observe a step-like suppression patterns
Color screening @ SPS
J/Y
cc
Y’
Sequential suppression - screening
Alternative scenario: suppression by comoving hadrons
    Smooth suppression
    Same suppression-starting point
    Slopes related to binding energy : SY ’ > Sc > SJ/Y
J/Y production (a.u.)
Temperature
Energy density
Y’
cc
J/Y
suppression by comovers
direct J/Y
J/Y production (a.u.)

## Slide 6: Charmonia in A+A
Anomalous suppression at SPS
NA50 results
p+A
4.37
1.04
4.90
1.24
6.65
2.04
7.65
2.53
8.83
3.19
9.43
3.76
L (fm)
e (GeV/fm3)
S+U
Eur.Phys.J.C49:559-567,2007
Pb+Pb
NA50 measured J/Y and Y’, but,
Measuring J/Y and Y’ only is not the answer : too small Y’ J/Y feed-down
need of a larger feed-down fraction
  Measure cc !
sequential suppression (QGP) ?
or
comovers (no QGP) ?
0.9
L = length of nuclear matter seen by quarkonium state
Expected = measured yield in p+A extrapolated to large L

## Slide 7: Charmonia in A+A
Anomalous suppression at SPS
Suppression patterns
p+A
4.37
1.04
4.90
1.24
6.65
2.04
7.65
2.53
8.83
3.19
9.43
3.76
L (fm)
e (GeV/fm3)
S+U
Eur.Phys.J.C49:559-567,2007
QGP - cc
Pb+Pb
  60% direct J/Y
  + 30% ccJ/Y+g
  + 10% Y’  J/Y + X
  Inclusive J/Y yield
sequential suppression (QGP) ?
or
comovers (no QGP) ?
Measuring J/Y, Y’ and cc suppression patterns will give the answer
comovers - cc
Take advantage of large cc  J/Y feed-down fraction

## Slide 8: Apparatus artist view
Primary goal : measure ccJ/Y+g
in Pb+Pb collisions at s = 17.2 GeV
  Instrumented Absorber :
  4.5 m thick Fe absorber
   dimuon trigger rate ~ 0.3 kHz
Could be magnetized to measure muon momentum
  Magnet :
  1m long 2.5 T dipole
    Calorimeter:
     ultra-granular EMCal
     W + Si layers à la CALICE
- 30 layers
- 0.5 x 0.5 cm2 pads
- 24 X0 in 20 cm
- DE/E ~ 15% /E
Dipole field
Beam:
high-intensity 158 GeV/c Pb beam
high-intensity 158/450 GeV/c p beam
Detector features:
Vertex detector + Spectrometer
Measures tracks before absorber  very good mass resolution
Ultra-granular calorimeter
Measures low energy g in high p0 multiplicity environment
Absorber/trigger
Absorbs p/K  Minimize fake triggers from p/K decays
  Silicon Spectrometer
  covers 1.5 rapidity unit
  Dp/p = 1%  J/Y mass resolution ~20 MeV/c²
Estimations based on NA60/CERN telescope performances

## Slide 9: Expected performances simulation
Typical mass plots (~1 week data taking w/ a 10% lI Pb target)
  200 000 J/Y embedded in Pb+Pb Minbias events produced w/ EPOS
    140 000 direct J/Y m+m- (70%)
    60 000 cc  J/Y g  m+m- g (30%)
Signal extraction
After acceptance/selection cuts within yCMS[-0.5;0.5]
35 000 J/Ym+m-
 acc x eff = 17.4%
Including
1700 cc  J/Y g  m+m- g  acc x eff = 2.8 %
cc
J/Y

## Slide 10: Expected performances
Typical 40-day Pb+Pb run (107.s-1 Pb beam  10% lI Pb target)
  ~ 180 000 J/Ym+m- recorded
  2 extreme numerical scenarios:
    If cc suppressed as J/Y
    If cc suppressed as Y’
Statistics
~180 000 J/Y
~ 1300 Y’
~ 3000 cc
Eur.Phys.J.C49:559-567,2007
cc as Y’ | cc as J/Y
406 | 677
530 | 1010
495 | 1091
421 | 1107
336 | 1093
647 | 1004
240 | 1143
3075 | 7125
Expect 3000 < < 7000
NA50 data

## Slide 11: p+A program
Cold Nuclear Matter
11
Mid-rapidity : yCMS  [-0.5 ; 1]
Forward-rapidity : yCMS  [0.5 ; 2]
 Need large yCMS range
A thorough p+A program
  mandatory as reference for hot nuclear matter effects
  Must control (understand) :
  charmonium absorption by cold nuclear matter  A dependence
  Shadowing/anti-shadowing (x2 scaling)
  Energy loss, formation time (xF scaling)
Two detector configurations to cover yCMS  [-0.5 ; 2]

## Slide 12: A thorough p+A program
Two detector configurations to cover yCMS [-0.5; 2]
Large amount of data
Detector capabilities
NA50
CHIC
x2
  J/Y, Y’, cc in a large yCMS range
    Large coverage in x2
    Large coverage in xF
  Study J/Y, Y’, cc with several targets
    NA50: p+Be, p+Al, p+Cu, p+Ag, p+W, p+Pb
  Large statistics required
    Typical 1week/target NA50 data taking
    Current SPS operation: Delivering proton beam to the LHC several months per year
      Significantly larger (than NA50) amount of data available for CHIC
Typical 1week/target NA50 data taking
(EPJ C33 (2004) 31-40)

## Slide 13: Conclusion
Measuring together J/Y, Y’ and cc in p+A collisions with several targets will give a thorough control of Cold Nuclear Matter effects
Measuring together J/Y, Y’ and cc in A+A collisions at SPS energies will (dis)prove sequential suppression scenario.
The apparatus is well suited to explore other important physics subjects such as open charm or low mass lepton pairs production in heavy ion collisions.
Testing sequential suppression scenario at SPS is crucial to fully understand RHIC and LHC results.

## Slide 14: CMS@LHC New upsilon results
Results from CMS
Charmonia @ SPS bottomonia @ LHC
’’Observation of Sequential Suppression in PbPb collisions’’
(at LHC)
PRL109, 222301 (2012)
Testing sequential suppression scenario at SPS is crucial to fully understand RHIC and LHC results.

## Slide 15: J/Y@SPS .vs. @LHC color screening ?
Charmonia @ SPS bottomonia @ LHC
Y(2S)
Y(1S)
NA50, PbPb sNN=17.2 GeV
Testing sequential suppression scenario at SPS is crucial to fully understand RHIC and LHC results.

## Slide 16: Expression of interest
Submitted to SPSC (oct. 2012)
Expression of Interest
Submitted to SPSC – oct.2012
CERN-SPSC-2012-031
The SPSC has received an expression of interest to study charm production with proton and heavy ion beams. The SPSC recognizes the strong physics motivation of a study that addresses central open questions about the color screening of charmonium in heavy ion collisions and about cold nuclear matter effects. For a comprehensive investigation, an extension including open charm production would be desirable.
For further review, the SPSC would require a letter of intent with information about the experimental implementation and the collaboration pursuing it.
Draft MINUTES on the 108th Meeting of the SPSC
15-16 January 2013
CERN-SPSC-2013-008

## Slide 17: Project status
Current think tank
  F. Arleo, E.G. Ferreiro, F. Fleuret, P.-B. Gossiaux, S. Peigné
apparatus
  Tracking
    Performed upstream of the absorber
    Needs low detector occupancy  silicon technology
    Welcomes group with expertise !
  Calorimetry
    Around 400 g per rapidity unit in central PbPb collisions
    Need ultragranular calorimetry à la CALICE
    Lab currently involved : LLR - Ecole polytechnique (France)
  Trigger
    Absorber can be made of Fe (since tracking is performed upstream)
    Absorber can be magnetized and, since instrumented, can provide momentum information to be matched with the tracker (RPCs?, micromegas?)
    Welcomes group with expertise !
Timeline
  From T0 (3 labs involved): ~ 5 Years for full simulation and final design (2 years), construction and installation (2 years), commisionning (1 year)

## Slide 18: backup

## Slide 19: Low mass dileptons
CHIC expected performances for low mass dileptons
  Tracking performed upstream to the absorber
     no multiple scattering due to absorber
     momentum resolution affected by magnetic field only:
  Momentum resolution
    With a 1m long 2.5T dipolar magnetic field
      = 1% for typical muon from J/Y (<Pm> ~10 GeV/c)
      = 0.7% for typical muon from w (<Pm> ~7 GeV/c)
  Expected mass resolution:
    J/Y: 1% 
    w: % 
Mass resolution
NA50:
NA60:

## Slide 20: Energy scan
Spectrometer acceptance: two detector configurations
Rapidity coverage
Mid-rapidity
yCMS  [-0.5 ; 1]
for Pbeam = 158 GeV/c
Forward-rapidity
yCMS  [0.5 ; 2]
for Pbeam = 158 GeV/c
Pbeam (GeV/c) | √s (GeV) | Rapidity of Center-of-mass | Mid-rapidity |  | Forward-rapidity | 
 |  |  | yCMS min | yCMS max | yCMS min | yCMS max
158 | 17.2 | 2.91 | -0.5 | 1 | 0.5 | 2
120 | 15.1 | 2.77 | -0.36 | 1.14 | 0.65 | 2.14
80 | 12.3 | 2.57 | -0.16 | 1.34 | 0.84 | 2.34
60 | 10.7 | 2.43 | -0.02 | 1.48 | 0.98 | 2.48
Depending on the beam energy, different rapidity ranges accessible
Common coverage: yCMS ∈ [0;2]
(NA50/NA60 coverage = [0;1])

## Slide 21: Open charm
Use same Strategy as NA60: measure muon vertex
  Open charm decay length:
  Plab = 158 GeV/c  g=9.2 
Measuring muon offset
CHIC: Vertex detector located 7.5 cm downstream from the target
(7 cm for NA60)
target
(simulation studies ongoing to estimate CHIC performances)
NA60 capable to separate prompt (red) from charm (blue) contribution
NA60 vertex detector: muon offset resolution ~ 40 mm (in transverse plane)
In principle, CHIC can measure open charm.
Simulations on-going…

## Slide 22: p+A program
A thorough p+A program
  mandatory as reference for hot nuclear matter effects
Large rapidity coverage
NA50
CHIC
x2
F. Arleo and S. Peigné, arXiv:1204.4609
NA50
(29 GeV)
CHIC (29 GeV)
E866
NA50
(17.2 GeV)
CHIC (17.2 GeV)
Ebeam (s) | Exp. | yCMS | x2 | xF
158 GeV (~17 GeV) | NA50 | [0;1] | [0.07;0.18] | [0;0.42]
 | CHIC | [-0.5;2] | [0.02;0.30] | [-0.19;1]
450 GeV (~29 GeV) | NA50 | [-0.4;0.6] | [0.06;0.16] | [-0.09;0.14]
 | CHIC | [-0.9;1.6] | [0.02;0.26] | [-0.22;0.51]
  J/Y, Y’, cc in a large yCMS range
    Large coverage in x2
    Large coverage in xF

## Slide 23: Charmonia in A+A
Measuring cc at SPS
Dipole field
Dipole field
Operate a new experiment
  Primary goal:
  cc  J/Y + g  m+ m- g
  Beam:
  high-intensity 158 GeV/c Pb beam
  high-intensity 158/450 GeV/c p beam
  Detector features :
  Vertex detector + Spectrometer
  Measures tracks before absorber
  for very good mass resolution
  Ultra-granular calorimeter
  Measures low energy g
  in high p0 multiplicity environment
  Absorber/trigger
  Absorbs p/K
  Minimize fake triggers from p/K decays

## Slide 24: J/Y@SPS .vs. U@LHC color screening ?
Charmonia @ SPS bottomonia @ LHC
On the same axis
Y(2S)
Y(1S)
NA50, PbPb sNN=17.2 GeV
0<y<1

## Slide 25: CERN strategy
Conclusions of the CERN Town meeting on “Relativistic Heavy-Ion Collisions”
CERN - june 29, 2012
“…The town meeting also observed that the CERN SPS would be well-positioned to contribute decisively and at a competitive time scale to central open physics issues at large baryon density. In particular, the CERN SPS will remain also in the future the only machine capable of delivering, heavy ion beams with energies exceeding 30 GeV/nucleon, and the potential of investigating rare penetrating probes at this machine is attractive.”